[image: image1.png]




[image: image114.jpg]


[image: image115.jpg]



[image: image116.jpg]


Large Aperture  spectrophotometer

O P E R AT I O N   M A N U A L
                [image: image122.png]



V1.0
Read this manual carefully before use the spectrophotometer

Safety Symbol
In order to avoid accidents caused by improper operation, the following symbols are used in this manual or on the instrument label.
This symbol instructs relative safety warnings or precautions.
[image: image2.jpg]


Read these instructions carefully to use this instrument safely and correctly.
[image: image117.jpg]


This symbol is a description of electrical hazards associated with electric shock.
Read these instructions carefully to use this instrument safely and correctly.
This symbol is a description of fire hazards。
[image: image3.jpg]


Read these instructions carefully to use this instrument safely and correctly。
[image: image4.jpg]


 Represents a prohibiting execution. This is absolutely not executable.
[image: image118.jpg]


Represents an instruction.
The instruction must be strictly performed.
[image: image119.png]Technical Description



Represents a prohibiting execution. Do not disassemble this instrument.
[image: image120.png]


Represents an instruction.
Make sure that the AC adapter is pulled out from the AC socket.

Cautions
No copy or copy of all or part of this manual is strictly prohibited without authorization from the company.
The contents of this manual are subject to change without prior notice.
When preparing this manual, we have done our best to ensure the accuracy of its contents. If you have any questions or find any errors, please contact your retailer or our authorized maintenance agency.
The company has no liability for all consequences arising from the improper operation of this instrument。
Please keep this manual carefully for your reference at any time.

	[image: image5.jpg]



	Do not use this instrument in a place where there are combustible or flammable gases (gasoline, etc.), otherwise it may cause fire.
Do not allow liquid or metal objects to enter the instrument, otherwise it may cause fire or electric shock. If a liquid or metal object enters the instrument, turn off the power immediately, unplug the AC adapter plug, and contact the nearest authorized maintenance institution.
Do not force, twist or pull the power cord of the AC adapter. Do not scrape or modify the power cord, or place heavy objects on the power cord, otherwise it may damage the power cord, and cause fire or electric shock.
Do not use wet hand to plug AC adapter plug, otherwise it may cause electric shock.
If the instrument or AC adapter is damaged, or smokes, do not continue to use this instrument, otherwise it may cause fire. In this case, power should be switched off immediately, AC adapter plug removed from the AC socket, and contact the nearest authorized maintenance institution.
Do not measure the face directly on the sample measuring aperture, otherwise it may damage the eyes.
Do not place the instrument on an unstable or inclined surface, or it may cause the instrument to slide or overturn, causing injury to personnel.

	[image: image6.jpg]



	1.Be sure to always use a standard AC adapter or an optional AC adapter and connect it to an AC socket with rated voltage and frequency. If you use a not specified AC adapter, it may damage the instrument or cause a fire or electric shock.


	[image: image7.jpg]



	2.Be careful not to put your hand in the notch of the instrument, or you may get stuck in your finger and cause injury.

	[image: image8.jpg]



	Do not disassemble or refit the instrument or AC adapter, otherwise it will cause fire or electric shock.

	[image: image9.jpg]



	If the instrument is not used for a long time, please pull the AC adapter plug from the AC socket. Because the dust or water stains on the AC adaptor pins may cause a fire, they should be pulled out immediately.
When pulling the AC adapter plug out of the AC socket, be sure to always hold the plug itself to avoid pulling the power cord, which may damage the power cord and cause fire or electric shock.


 SHAPE  \* MERGEFORMAT 



Reflection measurement geometric optical structure

Meet the D/8 (diffuse illumination 8-degree reception) geometric optical structure specified by CIE15

Meet the geometric optical structure of CIE15 45/0 (45° ring uniform lighting 0° reception) Chromaticity standard

 Note: Please distinguish different geometric optical structures according to the purchased instrument model.

CIE1964 10 degree observer angle

CIE1931 2 degree observer angle

GB/T 3978, GB/T 18833,GB 2893

ASTM D1003/1044, CIE No.15,ASTM E308,DIN5033 Teil7

Reflective multi-light source
D65,A,C,D50,D55,D75,F1,F2,F3,F4,F5,F6,F7,F8,F9,F10,F11,F12,CWF,DLF,TL83,TL84,TPL5,U30,B,U35,NBF,ID50, ID65, LED-B1, LED-B2, LED-B3, LED-B4, LED-B5, LED-BH1, LED-RB1, LED-V1, LED-V2, LED-C2, LED-C3, LED-C5 (a total of 41 light sources, all of which are implemented through the upper computer) 

Content

I

OPERATION MANUAL

I

Safety Symbol

Attention.......................................................................................II

Safety specification.....................................................................III
Instruction....................................................................................1
Cautions
1
1. External Structure Description
2
2. Operating Instruction
3
2.1 Power On & Off
3
2.2 Calibration
3
5

2.3 Measurement

5

2.3.1 Standard Measurement 

7

2.3.2 Sample Measurement

8

2.3.3  Color Card Matching

11

2.3.4  Continuous Measurement

2.3.5  Continuous Measurement ...............................................12
13

2.4 Connect to PC

2.4.1 USB Connection
13

2.4.2 Bluetooth Connection
13

2.5 Tolerance Setting
13

2.5.1 System Tolerance Setting
13

2.5.2 Standard tolerance setting
15

2.6 Printing
15

2.6.1 Use USB printer. ..............................................................16
2.6.2 Use Bluetooth printer........................................................17
3.System Function Description
17
3.1 Data Management
18
3.1.1 View Records
18

21

3.1.2 Deleting Records

3.1.3 Search History
22
3

3.1.4 Standard input
2
2

4
3.2 Instrument Calibration

2

4
3.3 Illuminant settings

3.4 Measurement setup
25
3.5 Color Options
26
3.5.1 Color Space​
27
27

3.5.2 Color difference formula

3.5.3 Color Index
28
3.6 Parameter settings
29
3.7 Display Settings
32
3.8 System Settings
32
4

3.8.1 Bluetooth
3
4

3.8.2 Buzzer​
3
3.8.3 Automatic switching
34
3.8.4 Automatic saving​
35
3.8.5 Fast Mode
35
3.8.6 Language Settings
35
3.8.7 Control Mode​
35
3.8.8 Sleep time
36
3.8.9 Calibration validity period
37
3.8.10 System time
38
3.8.11 Temperature Threshold
39
3.8.12 Tolerance threshold
39
3.8.13 Print Settings
39
3.8.14 Audit function .................................................................40
3.8.15 Reset the instrument
46

3.8.16 About Instruments
46
4.Daily maintenance
47
5.Technical Parameters
48
5.1 Product Features
48
5.2 Technical specifications
48
Appendix....................................................................................50

1. Object color............................................................................50
2. Color difference formula........................................................51
3. Normal color difference allowable range...............................52

Instruction

This instrument is a domestic spectrophotometer independently developed by our company with complete independent intellectual property rights. It adopts nano-integrated spectral devices and uses a silicon photodiode array (20 groups in double rows) for signal collection to accurately obtain the reflectance of reflective samples. Equipped with a 400~700nm full-spectrum long-life light source, the optical system has an optical resolution of 10nm. The instrument has built-in multiple color spaces and color difference formulas, enabling multi-dimensional chromaticity expression of samples. With good human-computer interaction, reliable and accurate measurement data, large storage capacity, USB and Bluetooth dual communication modes, and powerful expansion functions of PC-side color management software, this instrument is widely used in plastic electronics, paint and ink, textile printing and dyeing, printing, ceramics, food and other industries.
Cautions

(1) This instrument belongs to precision optical measuring instruments. During measurement, drastic changes in the external environment of the instrument should be avoided, such as flickering of ambient light and rapid temperature changes.

(2) When measuring, the instrument should be kept stable, the measured object should be tightly attached to the measuring port, and shaking and displacement should be avoided.

(3) This instrument is not waterproof and cannot be used in high humidity environments or water mist.

(4) Keep the instrument clean and prevent liquids, powders, or solid foreign objects such as water and dust from entering the integrating sphere and the interior of the instrument. Avoid impact or collision with the instrument.

(5) The standard board should be regularly cleaned with a wiping cloth to ensure that the working surface of the standard board is clean. The standard board should be stored in a dark, dry, and cool environment.

(6) After using the instrument, the power should be cut off and the instrument and standard board should be placed in the instrument box for storage in a dry and cool environment.

(7) Users are not allowed to make any unauthorized changes to this instrument. Any unauthorized changes may affect the accuracy of the instrument and even irreversibly damage it.

EXTERNAL STRUCTURE DESCRIPTION
[image: image121.png]




                                            












Figure 1 Spectrophotometer external structure diagram
Touch screen: TFT true color 7-inch, capacitive touch screen.

Wake up/measurement button: Short press the measurement button in standby mode to wake up the system, and short press to start measurement.

Measurement Port: Place the sample above the measurement port when measuring.

Data Interface: USB interface for connecting and communicating with PC, enabling more functional expansion through PC-side color management system software.

Power Interface: The power adapter is connected to AC power (AC110V-240V) to supply power to the instrument. The specification of the external power adapter is DC 24V/3A.

Power Switch: Enables hard power-on after the instrument is energized.

White Plate: Used for white calibration of the instrument.

2.Operating Instruction
2.1 Power On & Off
Press the power switch  the red indicator light always on, the instrument is powered on. Press the power switch, power on the instrument, the power indicator light stays on, and the instrument starts up normally; Press the power switch, the instrument shuts down, and the power indicator light goes out.

If no operation is performed for a long time during the startup state, the instrument will automatically enter standby mode. At this time, press the measurement button to wake up the instrument and enter working mode. (Refer to section 3.8.8 Sleep Time)

[image: image11.jpg]


Please cuff off the power if not to use the instrument for a long time.
2.2 Calibration

Calibration is required under the following circumstances. 

Before the first time of measuring after power is on.
2.When the environmental condition change relatively large (such as temperature changes exceeding 5 degrees Celsius).
3.Use the instrument for a continuous long time (over 8 hours)
4.When the user finds that the measuring data is inaccurate.
[image: image12.png]oy

i e =

MEAS Settings illuminant Calibration ||||I

Data Manage
5/
o) 1%

Color Options Parameter

(i}
Fel e | e

SYS Settings Display




Figure 2 Main Menu

Calibration Steps:

1. Click " Instrument Calibration" on the main menu interface to enter the black and white calibration interface (Figure 3). The interface will display whether the current calibration is effective and the remaining time for calibration to be effective.

[image: image13.png]w0

Data Manage
Calibration
illuminant

Meas Setting

Color Option

Parameter
Display

Sys Setting

=]

Calibration ¢ B -31.2°C 10:11

Current correction effective time remaining: 1.5

If correction is required, click "->" to continue





Figure 3 Calibration Interface
Within the calibration validity period, you need to click "[image: image14.png]


" to enter the calibration interface (Figure 4). After placing the whiteboard according to the prompts, press the measurement button to perform white calibration. 

[image: image15.png]ﬁ Calibration ¢ B 31.2°C 10:12
SEEIVEREEE @White Calibration

Calibration

Please cover the calibration plate
to ensure the measurement After
the measuring port is covered wi-
th the colonel plate, press the "M-
easurement Key" for alibration

illuminant
Meas Setting
Color Option

Parameter

Display

SIS Whiteboard number: W12345678

i}





Figure 4 White Calibration

After completing the white calibration, it will return to the instrument calibration prompt interface, and the instrument will be re-timed according to the white calibration validity period set by the user.  
2.3 Measure
The measurement is divided into standard sample measurement and sample measurement. Standard sample measurement is generally used to measure the chromaticity data of the target sample, while sample measurement is used to measure the chromaticity or contrast chromaticity data of the sample and the target sample.

After the instrument is turned on and the correct instrument calibration is completed, the measurement can be carried out (the customer sets the corresponding light source, color space, color index, etc. in the main menu interface as needed).If you are not currently in the measurement interface, you can click the measurement interface icon ([image: image16.png]MRS



 ) to return to the measurement interface.

Note: The default color space of the system is CIE lab, and the color difference formula is ΔE*ab.

2.3.1 standard sample measurement 

      In the standard sample measurement interface, align the sample under test with the instrument to measure the caliber and stick it tightly, tap the measurement button, the buzzer will ”drop", and the LED indicator will blink from to off, the buzzer will “drop” again, indicating that the measurement is completed (the buzzer status in the system settings is on).After the test of the sample under test is completed, the interface is shown in Figure 5.






[image: image17.png]Standard sample ¢ B 31.2°C 11:32

T00123 2021-12-14 09:30

|*:85.79
a*:2.08
b*:38.85






Figure 5 Standard sample measurement interface

Standard sample measurement interface description：


As shown in Figure 5, the upper part of the measurement interface is divided into a working status area, which is used to display the current setting working status and interface switching, including: main menu, standard/sample measurement interface switching, instrument connection status (USB, Bluetooth), system temperature, system time, standard sample name, simulation color, standard sample lock, standard sample measurement time, etc., Some information needs to be displayed by clicking “[image: image18.png]


”.

The left part of the measurement interface is the shortcut display area, you can click the corresponding shortcut keys to quickly switch the test data.

The middle part of the measurement interface is the data display area, and the instrument displays the corresponding chromaticity data according to the current user's settings.

At the bottom of the measurement interface is the operation button area, which realizes the operation of the current data by clicking the corresponding operation button.

Detailed description of the operation interface：

Click the words "Standard sample measurement” to enter the standard sample measurement interface, and the standard sample and data are displayed on the interface; click the words ”Sample measurement", the instrument enters the sample measurement interface, and the sample and data are displayed on the interface.

Click[image: image19.png]


 to find the color of the color card based on the latest measured data, and pair and display the data with similar color differences.

3.Click[image: image20.png]


 to return directly to the main interface.

4.Click[image: image21.png]


 to open the shortcut bar, click ① to quickly switch the measurement mode SCI/SCE data (different models, there are differences), click ② to quickly set the color space, click③ to quickly set the light source, click④ to quickly set the observer angle, click⑤ to quickly set the current standard sample tolerance.

5.Click[image: image22.png]


 to enter the color index data display interface to display the color index of the current measurement data. The color index can be replaced in the color index setting interface in the color options.

6.Click[image: image23.png]


 to enter the reflectance spectrum interface to display the reflectance curve of the current data within different 400-700nm.

7.Click[image: image24.png]


 to enter the chrominance coordinate interface to display the chrominance coordinates of the current data.

8.Click[image: image25.png]


 to delete the current measurement data. The default of the instrument is deleted at the factory. The automatic saving can be turned off in the "System Settings", and the save button is displayed [image: image26.png]=l



.

9.Standard sample name: You can rename the current standard sample.

10.System temperature: Display the real-time temperature of the instrument.

11.Standard sample lock: The corresponding standard sample can be locked, and operations such as deletion, renaming, etc. cannot be performed. The standard sample needs to be locked in the viewing record in “Data Management”.

Note: Please set the above operating instructions according to the corresponding purchased model. There are certain differences in the functions of different models.

2.3.2 Sample measurement

Under the standard sample measurement interface, click "Sample measurement” to switch to the sample measurement interface.Align the sample under test with the instrument to measure the caliber and stick it tightly, tap the measurement button, and the buzzer will ”drop". At the same time, the buzzer will “drop” again as the LED indicator flashes from to off, indicating that the measurement is completed.After the sample measurement is completed, the interface is shown in Figure 6. The differences from the standard sample measurement are described in detail below.



[image: image27.png]ﬁ L ¢ B 31.2°C 08:09

S00999 2021-12-14 09:30
HH
1*:97.19 AL*:11.40  Whiter
a*:-0.03 Aa*:-2.11 remss
b*:0.91 Ab*:-37.95  Bluet

AE*ab:39.68




Figure 6 Sample measurement interface

1.Sample name: You can rename the current sample

2.Sample interface: Indicates that it is currently the sample measurement interface

3.Chromaticity difference: The difference between the chromaticity value of the sample minus the chromaticity value of the standard sample

4.Color bias: Displays the color bias of the current standard sample compared with the sample sample. You need to turn on the color bias in the ”Display Settings" to display it.

5.Measurement results: Display the test results of the current standard sample and the sample, determined by the tolerance set by the standard sample and the specified chromatic aberration formula. When the chromatic aberration value exceeds the tolerance, “unqualified” will be displayed in red, otherwise “qualified” will be displayed in green.It will only be displayed when ”Display Settings“ sets ”Test Results" to on.

6.Chromatic aberration value result: The specified chromatic aberration formula is calculated and displayed. You can select a different chromatic aberration formula for display in the chromatic aberration formula in ”Color Options".

2.3.3 Color Card Matching  下图没有英文图标
The interface of color card matching function displays the current target color (i.e., the currently selected specimen/specimen data), according to the target color, it automatically matches the similar color card color (eight color cards can be selected), and displays two pieces of data on each page, as shown in Fig. 7, which can be flipped up and down through the buttons "[image: image28.png]


","[image: image29.png]


". button to turn up and down the page, up to 6 data can be displayed, the color difference error range within 10, more than the range or can not find similar color card data is displayed as empty, as shown in Figure 8. If you need to select a different color card for matching filter, as shown in Figure 9.

[image: image30.png]Standard Sample Search Color ¢ B 31.2°C 10:20

New Text QWA PT_Solid Uncoated

SR PT_Sol_UnC Yellow 012 U
1*:87.18 a":0.68 b*":38.74
AE*ab:1.98
L*: 85.79 PT_Sol_UnC Bright Red U
a*:2.08 1:89.53 a%0.11 b*42.00
b*:38.86 AE*ab:5.27

& Prev Next




Figure 7 Color Search Function Interface-1

[image: image31.png]Standard Sample Search Color SINECEn15:41

Target
T00722 f R
NULL
L*: 87.08
aEsl0i05 NULL “

b*:-0.38 |





Figure 8 Color Search Function Interface-2

[image: image32.png]Standard Sample Search Color ¢ B 31.2°C 10:30

PT_Solid Uncoated

cBCC ®
PT_FASHION_TPX

RAL_K5

Dulux3 CP4

PT Solid Coated

Coloro

NCS





Figure 9 Select color card

Note: To enter the color search interface, you must select the measurement mode as SCI mode, the standard light source as D65, the observer angle as 10°, and the measurement data is not empty. The above conditions are indispensable.If one item is not satisfied, you cannot enter the color finding interface to use the color finding function.The prompt message is shown in Figure 10 below.

[image: image33.png]Please confirm that the

currentstatusis
SCI/D65/10° And the





Figure 10 Color Finding Condition Tips Interface

2.3.4 Average measurement

When the item under test is relatively large, or the chromaticity is relatively uneven, the average reflectance of multiple points is obtained by measuring multiple representative test points, and then the calculated chromaticity data can better represent the true chromaticity data of the sample under test. Data.This instrument can achieve an average measurement of 1~99 times, and the average number of measurements can be set for both samples and standard samples.

[image: image34.png]w0

Data Manage
Calibration
illuminant
Meas Setting

Color Option
Parameter

Display

Sys Setting

i}

Meas Setting

Average

Std Average Time:

Smp Average Time:

¢ B -31.2°C 10:45





Figure 11 Average measurement setting interface

The main menu → Measurement settings → average measurement, you can enter the average measurement setting interface and set the average number of measurements of the standard sample or the average number of measurements of the sample, as shown in Figure 11 above.

2.3.5 Continuous measurement

When the measurement conditions are fixed and the sample needs to be continuously measured (such as the automated operation process of the assembly line), the continuous measurement mode can be used to reduce the operation links and save measurement time.Both standard sample measurement and sample measurement can set the number of consecutive measurements (up to 9999 times) and the time between each measurement (999 seconds), and save the results of each measurement.During the continuous measurement process, you can press the measurement button to abort the continuous measurement.

Main menu → Measurement mode→continuous measurement, you can enter the continuous measurement setting interface and set the number of consecutive times or intervals of standard samples/samples, as shown in Figure 12.：

[image: image35.png]Meas Setting Continue ¢ B -31.2°C 10:46
Data Manage

Calibration

Number of STD MEAS: | 500
illuminant

Meas Setting STD MEASinterval:| 5

Color Option

Number of SMP MEAS: | 500

Parameter

SMP MEA Sinterval:| 3

Display

Sys Setting

=l @ & |





Figure 12 Continuous measurement setting interface

2.4 Communication with PC

The PC color management software has functional scalability and can achieve richer chromaticity data analysis. This series of instruments can communicate with the installed PC color management software through USB or Bluetooth module (limited to product models equipped with Bluetooth module).

2.4.1 Communicate with PC via USB
After installing the color management software on the PC, connect the instrument to the PC by using a USB data cable, and the software will automatically connect to the instrument. If the connection is successful, the status bar of the instrument will display the USB connection icon[image: image36.png]


, allowing for comprehensive control of the terminal instrument and conducting relevant sample testing and analysis through the PC color management software.

2.4.2 Bluetooth Connection

For instruments equipped with Bluetooth function, first turn on the Bluetooth function in the system setting interface  , and turn on Bluetooth on the PC with Bluetooth function, search for devices, and the search box will display the model and SN code of the current instrument. After turning it on, the status bar of the instrument will display the Bluetooth connection icon " [image: image37.png]


". After the connection is successful, the PC color management software can be used to fully control the terminal instrument and perform relevant sample testing and analysis.
2.5 Tolerance Setting

Tolerance is for Standards. The tolerance of Standards will affect the instrument's judgment of the sample results. System tolerance is the tolerance assigned to the Standard by the instrument by default. If the Standard tolerance is not set, the system tolerance will be used by default. Therefore, the accuracy of the system tolerance is crucial to the accuracy of the test data.

2.5.1 System Tolerance Setting

Main Menu → System Settings , slide the interface, find the tolerance threshold (Figure 13 ), click "Tolerance Threshold " to enter the system tolerance editing interface, as shown in Figure 14 :

[image: image38.png]ﬁ Sys Setting

Data Manage
Calibration
illuminant

Meas Setting

Color Option

Parameter
Display

Sys Setting

i}

Bluetooth
Buzzer
Auto change
Auto save
Fast mode
Language

Control mode

Sleep time

16:58





Figure 13  System tolerance setting interface

[image: image39.png]ﬁ SysSetting  Tolerance & ¢ R -31.2°C 17:00

Data Manage

Calibration
illuminant AE*| 100

Meas Setting *:[ Loo L*:|_1.00

Color Option a*:[ -Loo a*:[ 100
Parameter b*:[ 100 b*:[_100

Display

Sys Setting

i}





Figure 14 System setting interface

In Figure 14, ΔE* is the total tolerance of the Standard (CIE1976); L* on the left is the lower limit of the Standard tolerance, and L* on the right is the upper limit of the Standard tolerance. The upper limit on the right must be greater than the lower limit; the setting method of a* and b* is the same as L*. After all settings are completed, click " [image: image40.png]


" to exit.

When the Standard uses the default system tolerance, the sample data is compared with the Standard data. Only when ΔE*, L*, a*, and b* are all within the tolerance range, the sample will be prompted as qualified, otherwise it will be prompted as unqualified (the test result prompt function is turned on).

2.5.2 Standard tolerance setting

In the Standard measurement interface (Figure 5 )[image: image41.png]


, click “Tolerance” to enter the Standard tolerance editing interface, as shown in Figure 15 .

The standard tolerance setting is the same as the system tolerance setting, except that the setting path is different. When the user has special tolerance requirements for the standard, the tolerance is set for the standard. If the standard tolerance of the current standard is not set, the system tolerance is used by default.
[image: image42.png]Standard Sample Tolerance @ ¥ B 31.2°C  17:00

AE*[ 100
1*:[ 100 1*:[ 100
a*:[ -1oo a*:[ 100
b*:[ 100 b*:[ 100





Figure 15 Standard tolerance setting interface

2.6 Printing

There are three ways for users to print the sample chromaticity data tested by this instrument. One way is to connect the instrument to the PC color management software and print it through the printer connected to the PC (refer to the color management software manual for usage); The second way is to print it through the micro printer connected to this instrument. The third way involves using an instrument to connect to a Bluetooth printer via Bluetooth for printing. The following will provide detailed explanations for the latter two methods. 

Note: The micro printer is a non-standard accessory and needs to be purchased separately.

2.6.1 Using a USB printer

USB Printing steps:

1,The user first measures the sample data and saves the sample records to be printed;

2,Enter "System Settings" in the main menu, click " Printer Settings " to open this function Figure 16 ;

3, Connect the micro printer to the instrument via USB;

4, Enter "Data Management" from the main menu and find the sample record to be printed (Standard record or test sample record);

5, Click " [image: image43.png]


" , select "Print" in the pop-up menu and click "Confirm" to start printing the sample chromaticity data, as shown in Figure 17 :

[image: image44.png]Data Manage
Calibration
illuminant

Meas Setting

Color Option

Parameter
Display

Sys Setting

i}

SysSetting  Print Setting ¢ B -31.2°C 11:45

OFF

USB printer

Bluetooth printer





Figure 16 Printer settings

[image: image45.png]ﬁ DataManage  Std record Smp record & ¢ B 31.2°C 17:01
T00123 2021-12-14 09:30

1*:69.35
a*:-0.62
b*:3.80





Figure 17  Sample Recording Interface

2.6.2 Using Bluetooth printers

Similar to using a USB printer, users can first measure the chromaticity data of the sample, save the sample record that needs to be printed, and then perform the printing operation.Similarly, the Bluetooth printer also supports the function of printing while measuring.

Bluetooth printer usage steps：

1. Press and hold the Bluetooth printer power supply, and see the indicator light flashing and let go.，

2. Enter the instrument system settings, print settings, and check the Bluetooth printer.，

3. Enter the mac address on the back of the BLUETOOTH printer on the BLE MAC, the length is fixed at 12 characters (for example, “4CE173C3F00 E”), and the mac address is automatically stored.，

4. Click to connect to the printer[image: image46.png]


 ，

5. After the Bluetooth printer is connected, find the sample record to be printed in the standard sample record or sample record, and click the “Operation” icon.，

6. Select “Print” in the pop-up submenu, and the printer will complete the printing work.

3.System Function Description
Click " [image: image47.png]


" to enter the main menu. From the main menu, you can enter various submenus to implement all system function settings.

3.1 Data Management
Main Menu → Data Management , enter the data management interface. (Figure 18) Data management can realize functions such as viewing records, deleting records, searching records, and inputting Standards.

[image: image48.png]Data Manage

Data Manage

Calibration

illuminant Check Record

® 0

Meas Setting Delete Record

Color Option Search record

(o}

Parameter std Input
Display

Sys Setting

i}




Figure 18 Data management interface

3.1.1 View Records

(1) View the Standard records

In the data management interface, click “View Records” to enter the “Standard Records” interface. The Standard will be displayed after the current data name in the Standard record interface, as shown in Figure 19.

[image: image49.png]i

Data Manage Standard Sample ¢ B 31.2°C 11:55
T00123 2021-12-14 09:30

an

a8

L*:85.79
a*:2.08
b*:38.85





Figure 19 Standard Recording Interface

Switch records by clicking " Previous Page " or " Next Page ".

Click " [image: image50.png]


" to lock data , load Standards , reset data, and print.

Click the data number position to modify the data number, and click the sample record to view the samples under the Standard.

Delete the sample record being viewed: Click “ [image: image51.png]


”, select Delete, and enter the record deletion reminder interface, as shown in Figure 20. Click “Confirm” to delete; click “ Cancel ” to cancel the deletion and return to the operation interface.

[image: image52.png]Delete standard data

And sample data





Figure 20 Deletion record reminder interface

Edit record name: Click the name to enter the name editing interface, enter a new name, press " √ " to confirm and save, and click " × " to cancel the name editing operation, as shown in Figure 21 :

[image: image53.png]Delete standard data

And sample data





Figure 21 Edit name interface

Lock the sample record being viewed: This function can only lock the sample data. Click " [image: image54.png]


" and then click Lock to set the sample record being viewed to a locked state. After setting it to a locked state, the lock icon on the sample record will turn into a locked state. (Figure 22)                 [image: image55.png]Data Manage

Standard

T00123

sample P B 31.2°C 13:39

2021-12-14 09:30

L*:85.79
a*:2.08





Figure 22 Standard lock

Set the Standard record being viewed as the current Standard: Click " [image: image56.png]


", then click Load to set the Standard record being viewed as the current Standard, and then click " Sample Measurement " to perform sample measurement operations under this Standard.

Reset the sample record data being viewed: Click “ [image: image57.png]


” and then click Reset ( place the sample to be measured before clicking ).

(2) View sample records

In the Standard viewing interface, click " Sample Record " to switch to the sample record interface and view the sample record corresponding to the Standard. In the sample record interface, click " Sample Record " to return to the Standard record interface. The sample will be displayed after the current data name in the sample interface, as shown in Figure 23 .

[image: image58.png]ﬁ Data Manage Standard Sample ¢ B 31.2°C 13:40
$S00999 2021-12-14 09:30

*:85.79 AL*:-0.00

a*:2.08 Aa*:-0.00

b*:38.86 Ab*:0.00
AE*ab:0.00 [FEES





Figure 23 Sample record viewing interface

3.1.2 Deleting Records

In the data management interface, Select to enter the "Delete Records" interface (Figure 24).  the deletion options are: " Delete all records " and " Delete all samples ".             

Click the corresponding option to enter the deletion prompt interface. The prompt will tell you whether to delete the Standard or the sample according to your operation. Click " Confirm " in the deletion prompt interface to delete all corresponding records; click " Cancel " to cancel the deletion operation. (Figure 25)

[image: image59.png]i

Data Manage
Calibration
illuminant

Meas Setting

Color Option

Parameter
Display

Sys Setting

i}

DataManage  Delete Record ¢ B -31.2°C 13:40

® DeleteAll Records

(B Delete All Samples





Figure 24 Delete record interface

[image: image60.png]i

Data Manage
Calibration
illuminant

Meas Setting

Color Option

Parameter
Display

Sys Setting

i}

DataManage  Delete Record ¢ B -31.2°C 13:40

® DeleteAll Records

(B Delete All Samples





Figure 25 Delete prompt interface

3.1.3 Search History

In the data management interface (Figure 26), you can select " Search by standard name " and " Search by sample name ". If the entered name does not exist, a message "No search records found" will be displayed; otherwise, the searched records will be shown.

Note: 1. Case sensitive 2. Maximum 8 search records are displayed.

[image: image61.png]{2

Data Manage
Calibration
illuminant

Meas Setting

Color Option

Parameter
Display

Sys Setting

i}

DataManage ~ Search record ¢ B -31.2°C 17:03

® ByStandardName

@ By Sample Name




Figure 26 Search records

3.1.4 Standard input

In the data management interface, click “Standard Input” to enter the Standard input interface (Figure 27)

[image: image62.png]@

Data Manage
Calibration
illuminant

Meas Setting

Color Option

Parameter
Display

Sys Setting

il

Data Manage

std Input

name

SCI

1 100

a* 200
b*{ 3.0

¢ B -31.2°C 13:46





Figure 27 Standard input interface

Enter the Standard input interface. Click the 10° position to set the observer angle, and click the CIELab position to set the color space. After entering all, click " [image: image63.png]


" to save the input data, and click " [image: image64.png]


" to exit the Standard input interface. The saved data can be viewed and called out in the Standard record interface.

Note: Color space switching currently only supports CIE Lab and CIE XYZ input.

3.2 Instrument Calibration

This spectrophotometer white calibration is the basis for measuring data. Please refer to Chapter 2.2 for specific operations.

3.3 Illuminant settings

The user sets the corresponding light source according to the actual measurement situation. In the illuminant setting interface, the system's standard observer angle and standard light source type can be set.

Main menu → illuminant settings , enter the settings interface (Figure 28) , click on the observer angle, you can switch between 10° and 2°. 10° is the CIE1964 standard, and 2° is the CIE1931 standard.

Click on the light source, you can choose D65, A, C, D50, D55, F1~F12 and other light sources Figure 29.

Note: Please select according to the purchased instrument model. The light source type and observer angle vary with different models.

[image: image65.png]ﬁ illuminant ¢ B 31.2°C 1347

Data Manage
Calibration

illuminant
Meas Setting (0] Observer Angle

Color Option (] lluminant

Parameter

Display

Sys Setting

=« ]





Figure 28 Illuminant setting interface

[image: image66.png]{0

Data Manage
Calibration
illuminant
Meas Setting

Color Option
Parameter

Display

Sys Setting

i}

illuminant

Illuminant

¢ B -31.2°C 13:54





Figure 29 Illuminant optional interface

3.4 Measurement setup

Main Menu → Measurement Settings , enter the measurement settings interface (Figure 30) . Contains: average measurement, continuous measurement, select different options to perform the corresponding operation, please refer to 2.3.4 Average measurement and 2.3.5 Continuous measurement for details; You can select one measurement mode from SCI, SCE, or I+E.
Note: Please set according to the optical structure of the purchased instrument. Some models do not have the measurement mode selection function.
[image: image67.png]{0

Data Manage
Calibration
illuminant
Meas Setting

Color Option
Parameter

Display

Sys Setting

i}

Meas Setting

Measure Mode

¢ B -31.2°C 14:16





Figure 30 Measurement setting
3.5 Color Options

Options " in the main menu to enter the color options interface, which includes color space, color difference formula, and color index. ( Figure 31)

[image: image68.png]@

Data Manage
Calibration
illuminant

Meas Setting

Color Option

Parameter
Display

Sys Setting

i}

Color Option ¢ B -31.2°C 14:20

@ Color Space
(4] Color formula
Color Index





Figure 31 Color option interface

3.5.1 Color Space​

Click "Color Space " under the color option to enter the color space interface (Figure 32) , and select the corresponding color space in the color space selection interface .

Note: Please select according to the purchased instrument model. The color space varies with different models.

     



[image: image69.png]{0

Data Manage
Calibration
illuminant

Meas Setting

Color Option

Parameter
Display

Sys Setting

i}

ColorOption  Color Space ¢ B -31.2°C 14:20

CIE Lab
CIE LUV
CIEXYZ
sRGB

CIE Yxy

Munsell

CIELCh

Bxy
Hunter Lab





Figure 32 Color Space Interface

3.5.2 Color difference formula

To set the color difference formula, users can choose ΔE* ab , ΔEcmc(2:1), ΔE94, etc. ( Figure 33)

Note: Please choose according to the model of the instrument you purchased. The color difference formula is different for different models.

[image: image70.png]{0

Data Manage
Calibration
illuminant

Meas Setting

Color Option

Parameter
Display

Sys Setting

i}

Color Option  Color formula ¢ B -31.2°C 14:20

AE*ab
AE*94
AE*00
AE*cmc(2:1)
AE*cmc(1:1)
AE*uv

DIN AE99
AE(hunter)





Figure 33 Color formula selection interface

3.5.3 Color Index

Color index setting (Figure 34), the selected color index will be displayed in the color index area of the standard and sample measurement interface (depending on the index, some indexes are only displayed under specific observer angles and light sources ). Click " " in the measurement interface [image: image71.png]


to switch to the color index display area, as shown in Figure 35 , which is the display interface of the yellowness.

Note: Please select according to the purchased instrument model. The color index varies with different models.
[image: image72.png]ﬁ ColorOption  Color Index ¢ B 31.2°C 1421

PEEMEREER Reflectivity

Calibration Yellowness

illuminant Whiteness

Meas Setting Color Strength

Metameric

Color Option
Opacity

Parameter -
Staining Fastness

ey Color Fastness

Sys Setting CMYK

i}




Figure 34 Color Index Interface

[image: image73.png]ﬁ Standard Sample ¢ B 31.2°C 14:23
T00123 2021-12-14 09:30

Yellowness
YI(ASTM E313): 64.97

YI(ASTM D1925): 65.22





Figure 35 Yellowness display interface under Standard measurement

3.6 Parameter settings

Parameter Setting " in the main menu to enter the parameter setting interface. In the parameter setting interface, you can choose to set the color difference formula parameter factor, metamerism index, yellowness and whiteness , and strength. ( Figure 36)

Note: The parameter settings vary with different models and optical structures. Please set the parameters according to your own instrument model and optical structure.

[image: image74.png]ﬁ Parameter ¢ B -31.2°C

Data Manage

Calibration

illuminant Formula factor setting

Meas Setting

Metameric setting
Color Option A YI&WI setting

Parameter Strength setting
Display

Sys Setting

i}




Figure 36 Parameter setting interface

Click "Color Difference Formula Parameter Factor Settings " to enter the setting interface, where you can set the parameter factors of the color formulas ΔE*94, ΔE*cmc, and ΔE*2000. ( Figure 37)

                [image: image75.png]i

Data Manage
Calibration
illuminant

Meas Setting

Color Option

Parameter
Display

Sys Setting

i}

Parameter

chromatism

AE*94

AE*00

¢ B -31.2°C 14:28





Figure 37 Color difference formula parameter factor setting interface

Click “Metamerism Index Settings” to enter the settings page (Figure 38), where you can set the standard light source and observer angle for metamerism reference 1 and reference 2.

[image: image76.png]i

Data Manage
Calibration
illuminant

Meas Setting

Color Option

Parameter
Display

Sys Setting

i}

Parameter Metameric ¢ B -31.2°C 14:34

Illuminantl
Observerl
Illuminant2

Observer2




Figure 38 Metamerism index setting interface

Click "Yellowness, Whiteness Settings" to enter the settings interface, where you can select the yellowness or whiteness index standard to be displayed. (Figure 39)

[image: image77.png]{0

Data Manage
Calibration
illuminant
Meas Setting
Color Option
Parameter

Display

Sys Setting

i}

Parameter YI&MI ¢ B -31.2°C 14:35

%2 vi(aTsm E313-2005) %2 vi(aTsM D1925-1970)

MI(CIE/ISO) MI(ASTM E313-2005) Mi(Beger)
TINt(CIE/ISO)  Tint(ASTME313-2005)  Mi(Tappl)
MI(R45T) MI(Hunter 1960) MI(Taube)
MI(Stensby) MI(Ganz)





Figure 39 Yellowness and whiteness setting interface

Click "Strength Setting" to enter the setting interface, where you can select the strength type to be displayed and specify the strength wavelength position. (Figure 40)

[image: image78.png]w

Data Manage
Calibration
illuminant

Meas Setting

Color Option

Parameter
Display

Sys Setting

i}

Parameter Strength ¢ B -31.2°C 14:36

2 Str Max Abs
3 User Abs

™ sum of K/S
Weighting Sti





Figure 40 Color Strength setting interface

3.7 Display Settings

Click "Display Settings" on the main menu interface to enter the display settings interface (Figure 38) . In this interface, you can set whether to open the color bias, test result prompt, spectrum curve or spectrum difference display , etc.

When the color deviation is turned on, the color deviation of the sample compared with the Standard will be prompted during sample measurement. When it is turned off, there will be no corresponding prompt.

If the test result prompt is turned on, when measuring the sample, if the test result exceeds the tolerance range set by the Standard, a red font " fail " will be displayed. If the error of the sample is within the tolerance range allowed by the Standard, a green font "pass" will be displayed.

If the spectrum curve display is turned on, click "[image: image79.png]


 " in the measurement interface to display the spectrum curve. If the spectrum difference is turned on, the difference between the sample and the standard (sample spectrum minus standard spectrum) will be displayed.       

[image: image80.png]{2

Data Manage
Calibration
illuminant

Meas Setting

Color Option

Parameter
Display

Sys Setting

i}

Display ¢ B -31.2°C 14:37

Color Offset

(&) Test Result

Spectral curve Spectral difference curve





Figure 41 Display setting interface

3.8 System Settings

Click "System Settings" in the main menu to enter the system settings interface. (Figure 42,43)

[image: image81.png]ﬁ Sys Setting

Data Manage
Calibration
illuminant
Meas Setting

Color Option
Parameter

Display

Sys Setting

i}

Bluetooth
Buzzer
Auto change
Auto save
Fast mode
Language
Control mode

Sleep time




Figure 42 System settings interface 1

                [image: image82.png]ﬁ Sys Setting

Data Manage
Calibration
illuminant

Meas Setting

Color Option

Parameter
Display

Sys Setting

=]

¢ B -31.2°C

Cal.deadline
Date
Temperature
Tolerance
Print Setting
Audit
Reset

Instrument

14:39





Figure 43 System settings interface 2            

System settings include: Bluetooth, buzzer, auto switch, auto save, fast mode, 

language setting, control mode, sleep time, calibration validity period, system time, temperature threshold, tolerance threshold, print settings, reset instrument, about instrument.

3.8.1 Bluetooth

For instruments equipped with Bluetooth , click the menu item to toggle Bluetooth on or off.          

3.8.2 Buzzer​

Switch the buzzer on or off. When the buzzer is on, there will be a beep when the measurement key is pressed .

3.8.3 Automatic switching

When automatic switching is turned on and data is measured, the interface will automatically switch to the sample measurement interface after the Standard measurement is completed.

3.8.4 Automatic saving​

Automatic save function is turned on, each sample tested will be automatically stored in the instrument. Otherwise, after the sample test is completed, the measurement record will not be automatically saved and you need to manually click " [image: image83.png]=



" to save it. (Figure 44)

[image: image84.png]¢ B 31.2°C 14:39

T00123 2021-12-14 09:30

*:86.70
a*:-1.49
b*:39.29





Figure 44 The auto-save interface is not turned on

3.8.5 Fast Mode

When the fast mode is turned on, the instrument measurement time will be shortened.

3.8.6 Language Settings

Language setting is used to set the language of the instrument interface. In the system setting interface, click "Language Setting" and then select the corresponding language to confirm.

3.8.7 Control Mode​
When the instrument communicates with the PC color management software, the customer can set a specific measurement control method as needed. Click "Measurement Control Method" in the system settings interface to open the measurement control method selection interface. There are three options: button, PC software, button | PC software. Select the corresponding method and confirm. (Figure 45)

[image: image85.png]{2

Data Manage
Calibration
illuminant
Meas Setting

Color Option
Parameter

Display

Sys Setting

i}

SysSetting  Control mode

Key

¢ B -31.2°C 14:40

PC Software

Key | PC Software





Figure 45 Measurement control mode configuration interface

Button: When this mode is selected, the user can only measure through the instrument measurement button when the instrument communicates with the PC software. After the measurement is completed, the test results will be automatically sent to the PC .

PC software: When this mode is selected, the instrument communicates with the PC software. The instrument can only be measured by issuing instructions through the PC color management software to control the instrument, complete data testing, and upload data to the PC software.

Button | PC software: Select this mode, the user can complete the sample test through the instrument test button or PC software instructions, and upload the data. This mode is the default selection mode of the instrument.

3.8.8 Sleep time

Sleep Time " in the system settings interface to enter the sleep time settings interface. (Figure 46)

[image: image86.png]ﬁ SysSetting  Sleep time ¢ B 31.2°C 14140

Data Manage Always on

Calibration 1mins

illuminant 5mins

Meas Setting LS

30 mins
Color Option

Parameter

Display

Sys Setting

i}




Figure 46 Sleep time setting interface

Sleep time are: always on , 30 minutes, 10 minutes, 5 minutes, 1 minute. If always on is selected , the screen will not automatically turn off when there is no operation; if set to other modes, the instrument will start counting down from the last operation, and enter the power saving screen state if there is still no operation after the countdown ends.

When the instrument enters the power-saving screen-off state, you can wake up the instrument by short pressing the test key.

3.8.9 Calibration validity period

validity period " in the system setting interface to enter the calibration validity period interface (Figure 47). Set the calibration validity period. When the validity period exceeds the validity period, the instrument will prompt you to calibrate again. The optional calibration validity period is 4 hours, 8 hours, 24 hours , and power-on calibration .

[image: image87.png]i

Data Manage
Calibration
illuminant
Meas Setting

Color Option
Parameter

Display

Sys Setting

i}

SysSetting ~ Cal.deadline

4 hours

¢ B -31.2°C 14:40

8 hours

24 hours

Power on calib





Figure 47 Calibration validity settings interface

3.8.10 System time

When the instrument leaves the factory, it is usually synchronized with the local time of the manufacturer. Users can set the instrument time according to actual conditions. In the system setting interface 2 ( Figure 43 ), click "Date and Time Settings" to enter Figure 48 for setting.   

                      [image: image88.png]ﬁ Sys Setting

Data Manage
Calibration
illuminant
Meas Setting
Color Option
Parameter
Display

Sys Setting

i}

¢ B -31.2°C 14:41





Figure 48 Time and date setting interface

After setting the date and time , click " [image: image89.png]


" to save the settings, or click " [image: image90.png]


" to cancel the save.

3.8.11 Temperature Threshold

Click "Temperature Threshold" in the system setting interface to enter the "Temperature Threshold" interface. When the alarm switch is turned on, set the alarm threshold . When the temperature change and the temperature difference during calibration exceed the threshold, the instrument buzzer will sound continuously, and the instrument needs to be recalibrated during measurement. (Figure 49)
[image: image91.png]i

Data Manage
Calibration
illuminant

Meas Setting

Color Option

Parameter
Display

Sys Setting

il

SysSetting  Temperature ¢ B -31.2°C 14:41

Temperature range:| +31.0°C

Alarm switch: (EE )





Figure 49 Temperature threshold setting interface

3.8.12 Tolerance threshold

Tolerance Threshold " in the system settings interface to enter the default system tolerance interface. For system tolerance settings, please refer to Section 2.5.1.

3.8.13 Print Settings

Turn on the print data switch and connect the printer to print data output. For specific operations, see Section 2.6 .

3.8.14 Audit function

Click "Audit Function" on the system settings interface to enter the audit login page. You can log in with the administrator account. The audit function can control the basic operation of the instrument. Only those with login permission can modify or view it. The specific functions of the audit function are as follows:

1) Audit opening and closing interface

The account is hard-coded as root by default. If you need to turn on the audit function, enter the password and click the audit function switch button. After verifying that the password is correct, the audit function is turned on successfully (after turning on the audit function, the instrument will automatically turn on and off again). If you need to turn off the audit function, just repeat the above operation (turning off the audit function will not restart the computer), as shown in Figure 50.
[image: image92.png]ﬁ Sys Setting Audit ¢ B 31.2°C 14142

Data Manage

Calibration
illuminant
Account |root
Meas Setting
Password
Color Option
Parameter Audit (B )

Display

Sys Setting

=l @ & |





Figure 50 Audit function interface

2) Login interface display

After turning on the audit function, you enter the login interface, as shown in Figure 51. Enter the existing account name and correct password to log in. After successful login, you will enter the main menu interface, as shown in Figure 52.

[image: image93.png]Login
Account [T
passvsore RN




Figure 51 Login interface

[image: image94.png]&

Meas Setting

]

Color Option

FeS

Sys Setting

illuminant

1
£
K

Calibration

03

Parameter

Display

Data Manage

i)

Data measure




Figure 52 Main menu interface

3) The password modification interface is displayed

When the instrument is turned on, it will enter the login interface. You need to enter the existing account name and password. Click the Change Password button. After verifying that the password is correct, you will enter the password change interface, as shown in Figure 53. Enter the new password and confirm the password. After verifying that the two passwords are consistent, jump to the login interface, as shown in Figure 51.
[image: image95.png]Change password

New pasword I
Confirm password [




Figure 53 Password modification interface

4) Log information interface display

The log information is located in the data management interface, as shown in Figure 54.

[image: image96.png]ﬁ Data Manage

Data Manage

Calibration Check Record

® 0

illuminant Delete Record

Meas Setting Search record

Color Option Std Input

Parameter Log
Display

Sys Setting

i}




Figure 54 Data management interface

The log information records the instrument's power-on self-test information, login account, white calibration, and factory reset. As shown in Figure 55, every time the user makes an operation, a message will be generated for recording, and each page will record 10 log messages. (The upper limit of logs is 10,000)

Note: Only the root account can delete log information!

[image: image97.png]ﬁ Data Manage Log ¢ B -31.2°C 15:00

Data Manage
13|2025-06-20 16:38:13 white

Calibration 142025-06-20 16:38:14 factory data reset ABCDEFGH
__ 152025-06-20 16:38:15 check
illuminant 16 | 2025-06-20 16:38:16 login ID - ABCDEFGH

17|2025-06-20 16:38:17 black
182025-06-20 16:38:18 white
19|2025-06-20 16:38:19 factory data reset ABCDEFGH
20|2025-06-20 16:38:20 check

Meas Setting

Color Option

Parameter 212025-06-20 16:38:21 login ID - ABCDEFGH
222025-06-20 16:38:22 black
Display 232025-06-20 16:38:23 white

24|2025-06-20 16:38:24 factory data reset ABCDEFGH
Sys Setting

E [ 4 Ty e





Figure 55 Log information interface

5) The user management interface is displayed (only root users can enter this interface)

User management is located in the data management interface, as shown in Figure 56.

[image: image98.png]i

Data Manage
Calibration
illuminant

Meas Setting

Color Option

Parameter
Display

Sys Setting

i}

Data Manage

©

¢ B -31.2°C

Check Record
Delete Record
Search record
Std Input
Log

User

15:00





Figure 56 Data management interface

The user management interface allows you to edit user passwords, delete users, and add new users, as shown in Figure 57.

[image: image99.png]ﬁ Data Manage User

Data Manage

¢ B -31.2°C 15:00

Calibration

illuminant

Meas Setting

Color Option

Parameter

Display

Sys Setting

i}





Figure 57 User management interface

After clicking the edit button, you will enter the password modification interface, as shown in Figure 58. Enter the new password and confirm the password, click OK, and verify that the passwords entered twice are consistent, then the password modification is successful.

[image: image100.png]Change password

New pasword I
Confirm password [




Figure 58 Edit and modify password interface

After clicking the delete button, a pop-up window prompts to delete the selected user, as shown in Figure 59. After clicking the OK button, the selected user is successfully deleted.

[image: image101.png]Delete the user





Figure 59 Delete user interface

Add user interface display

Click the Add user button to switch to the Add user interface. As shown in Figure 60, enter the account name and password. After clicking OK, the new user is successfully added. Users who have successfully added can view and edit operations in the user management interface.

Note: The same account cannot be added. The administrator root account cannot be added. The maximum number of new users is 20!

[image: image102.png]Add a user




Figure 60 Add user interface

3.8.15 Reset the instrument

Reset Instrument " in the system settings interface to enter the "Restore Factory Settings" interface, Figure 61. Click " [image: image103.png]


" to clear all measurement records and parameter settings of the instrument and restore them to the factory state; click " [image: image104.png]


" to cancel this operation.

       [image: image105.png]Data Manage
Calibration
illuminant
Meas Setting
Color Option
Parameter

Display

Sys Setting

i}

SysSetting  Instrument ¢ B -31.2°C 15:03

Product Model:
SN:

Serial number:
HW Version:

SW Version:
optical structure:




Figure 61 Restore factory settings interface

3.8.16 About Instruments

Click "About Instrument" in the system settings interface to enter the "About Instrument" interface. You can view the instrument's product model, SN code, software version, hardware version, whiteboard number and other information. ( Figure 62)

[image: image106.png]Data Manage
Calibration
illuminant
Meas Setting
Color Option
Parameter

Display

Sys Setting

i}

SysSetting  Instrument ¢ B -31.2°C 15:03

Product Model:
SN:

Serial number:
HW Version:

SW Version:
optical structure:




Figure 62 About the instrument

4.Daily maintenance

1) This instrument is a precision optical instrument. Please keep and use it properly. Avoid using and storing the instrument in a humid environment, strong electromagnetic interference, strong light, or dusty environment. It is recommended to use and store the instrument in a standard laboratory environment.

2) The whiteboard is a precision optical component and should be properly stored and used. Avoid hitting the working surface with sharp objects, avoid dirtying the working surface with dirt, and avoid exposing the whiteboard to strong light. Clean the working surface of the whiteboard regularly with a cloth dipped in alcohol. Clean the dust on the working surface of the whiteboard in time when calibrating.

3) To ensure the validity of the test data, it is recommended that the instrument and whiteboard be inspected by the manufacturer or a qualified metrology institute every one year from the date of purchase.

4) This instrument is powered by an external power adapter. The power supply should be used in a standardized manner to avoid frequent plugging and unplugging of the power supply to protect the power supply performance and extend the power supply life.

5) Please do not disassemble the instrument without permission. If you have any questions, please contact the relevant after-sales staff. Tearing off the easy-to-tear label will affect the after-sales maintenance service of the instrument.

5.Technical Parameters

5.1 Product Features

1. High hardware configuration: 7-inch TFT pure color capacitive touch screen, Bluetooth, flat grating ;

2. Silicon photodiode array (20 groups in double rows), long-life full-spectrum LED lamp ;

3. Measure sample transmission spectrum and Lab data accurately ;

4. Reflection aperture: Φ 50 mm ;

5. Temperature monitoring and compensation, built-in temperature sensor, monitor and compensate the test environment to ensure more accurate measurement results ;

6. Test wavelength range : 400 ~ 700nm ;

7. Independent light source detector, constantly monitors light source changes to ensure light source reliability ;

8. Various accessories, suitable for more working conditions;
9. Large storage space, can store 1000 Standards and 30000 test data of samples ;

10. PC color management software has powerful extension functions.
5.2 Technical specifications (The parameters of different models are different)
	Model
	Type A

	Name
	Large Aperture Spectrophotometer

	Illumination
	D/8 (diffuse illumination, 8° Viewing);

Comply with standards CIE No.15, GB/T 3978, GB 2893, GB/T 18833, ISO7724-1, ASTM E1164, DIN5033 Teil7

	Characteristic
	 Large-aperture spectrophotometer adopts D/8 optical structure and is equipped with a Φ50 large measuring aperture. It features a wide measurement area and highly representative data, making it suitable for color measurement of complex samples and fluorescent samples. It is used for accurate color measurement and quality control in industries including plastics and electronics, paints and inks, textiles and garment dyeing, printing, ceramics, and food, as well as for precise color analysis and communication in laboratories.

	Light source
	Combined LED light source

	Integrating sphere size


	Φ 120 mm  


	Containing light method
	  SCI&SCE

	Spectral method
	Nano-integrated spectral devices

	Sensor
	Silicon photodiode array (dual row 20 groups)

	Wavelength range
	400-700 nm

	Wavelength interval
	10nm

	Half bandwidth
	10nm

	Transmittance range
	0~200%

	Measuring aperture
	 Φ 50 mm

	Color Space Illuminant
	D65,A,C,D50,D55,D75,F1,F2,F3,F4,F5,F6,F7,F8,F9,F10,F11,F12,CWF,DLF,TL83,TL84,TPL5,U30,B,U35,NBF,ID50,ID65,LED-B1,LED-B2,LED-B3,LED-B4,LED-B5,LED-BH1,LED-RGB1,LED-V1,LED-V2,LED-C2,LED-C3,LED-C5

	Observer Angle
	2°/10°

	Color Space
	CIE LAB,XYZ,Yxy,LCh,CIE LUV,s-RGB,HunterLab,βxy,DIN Lab99 Munsell(C/2)

	Color difference formula
	ΔE*ab,ΔE*uv,ΔE*94,ΔE*cmc(2:1),ΔE*cmc(1:1),ΔE*00, DINΔE99,ΔE(Hunter) 

	Other color indexes
	Spectral reflectance,

WI (ASTM E313, CIE/ISO, AATCC, Hunter, Taube, Berger, Stensby),

YI (ASTM D1925, ASTM 313),

Tint (CIE/ISO,ASTM E313-20),
MI (Metamerism Index),
Staining Fastness, Color Fastness, Color Strength, Opacity,Color density CMYK

	Repeatability
	Spectral reflectance: standard deviation within 0.07% ( 400 ~ 700nm : within 0.2%);

Chromaticity value: within ΔE*ab 0.03 (When a white calibration plate is measured 30 times at 5 second intervals after white calibration);

	Inter-instrument Error
	Δ E*ab within 0.35 (Average for 12 BCRA Series II color tiles）

	Displayed Data
	Spectrum/values, sample chromaticity value, color difference value/graph,  pass/fail results, color bias

	Measuring time
	about 1s

	Measuring method
	Single measurement, average measurement (2~99 times)

	Size
	210x245x188 mm

	Weight
	About 3.1kg

	Power supply mode
	Powered by DC 24V/3A power adapter

	Illuminant Life Span
	More than 2 million measurements in 5 years

	Display
	TFT true color 7-inch, capacitive touch screen

	Interface
	USB,  Bluetooth

	Data Storage
	1000 Standards, 30000 test samples

	Language
	Simplified Chinese, Traditional Chinese, English, Russian

	Operating Environment
	0~40℃, 0~85%RH (no condensation), altitude: less than 2000m

	Storage Environment
	-20~50°C , 0~85%RH (no condensation)


	Model
	Type B

	Name
	Particle Spectrophotometer

	Illumination
	45/0(45 ring-shaped illumination, vertical viewing);
Comply with CIE No.15，GB/T 3978,GB 2893,GB/T 18833,ISO7724-1,ASTM E1164,DIN5033 Teil7,GB 2893

	Characteristic
	Particle Spectrophotometer adopts 45/0 optical structure and is equipped with a Φ50 large measuring aperture. Comply with ASTM D6290-19 particle color and other test methods. It features a wide measurement area and highly representative data, making it suitable for color measurement of particle samples and fluorescent samples. It is used for accurate color measurement and quality control in industries including plastics and electronics, paints and inks, textiles and garment dyeing, printing, ceramics, and food, as well as for precise color analysis.

	Light source
	Combined LED light source

	Integrating sphere size
	Φ 120 mm  

	Spectral method
	Nano-integrated spectral devices

	Sensor
	Silicon photodiode array (dual row 20 groups)

	Wavelength range
	400-700 nm

	Wavelength interval
	10nm

	Half bandwidth
	10nm

	Transmittance range
	0~200%

	Measuring aperture
	 Φ 50 mm

	Color Space Illuminant
	D65,A,C,D50,D55,D75,F1,F2,F3,F4,F5,F6,F7,F8,F9,F10,F11,F12,CWF,DLF,TL83,TL84,TPL5,U30,B,U35,NBF,ID50,ID65,LED-B1,LED-B2,LED-B3,LED-B4,LED-B5,LED-BH1,LED-RGB1,LED-V1,LED-V2,LED-C2,LED-C3,LED-C5

	Observer Angle
	2°/10°

	Color Space
	CIE LAB,XYZ,Yxy,LCh,CIE LUV,s-RGB,HunterLab,βxy,DIN Lab99 Munsell(C/2)

	Color difference formula
	ΔE*ab,ΔE*uv,ΔE*94,ΔE*cmc(2:1),ΔE*cmc(1:1),ΔE*00, DINΔE99,ΔE(Hunter) 

	Other color indexes
	Spectral reflectance,

WI (ASTM E313, CIE/ISO, AATCC, Hunter, Taube, Berger, Stensby),

YI (ASTM D1925, ASTM 313),

Tint (CIE/ISO,ASTM E313-20),

MI (Metamerism Index),
Staining Fastness, Color Fastness, Color Strength, Opacity,Color density CMYK

	Repeatability
	Spectral reflectance: standard deviation within 0.07% ( 400 ~ 700nm : within 0.2%);

Chromaticity value: within ΔE*ab 0.03 (When a white calibration plate is measured 30 times at 5 second intervals after white calibration);

	Inter-instrument Error
	Δ E*ab within 0.35 (Average for 12 BCRA Series II color tiles）

	Displayed Data
	Spectrum/values, sample chromaticity value, color difference value/graph,  pass/fail results, color bias

	Measuring time
	about 1s

	Measuring method
	Single measurement, average measurement (2~99 times)

	Size
	210x245x188 mm

	Weight
	About 3.1kg

	Power supply mode
	Powered by DC 24V/3A power adapter

	Illuminant Life Span
	More than 2 million measurements in 5 years

	Display
	TFT true color 7-inch, capacitive touch screen

	Interface
	USB,  Bluetooth

	Data Storage
	1000 Standards, 30000 test samples




	Language
	Simplified Chinese, Traditional Chinese, English, Russian
	

	Operating Environment
	0~40℃, 0~85%RH (no condensation), altitude: less than 2000m
	

	Storage Environment
	-20~50°C , 0~85%RH (no condensation)
	

	Standard accessories
	Power adapter, manual, quality management software (download from official website), Whiteboard, petri dish
	

	Optional accessories
	Micro printer
	

	Note:
	The technical parameters are for reference only, please refer to the actual products sold
	


Appendix 1

1. Object color

There are three major elements to perceive color: light, object and observer. Any change of these three elements will influence the observer’s color perception. When the light source and the observer don’t change, then the object will determine the observer’s color perception.

Objects can affect the final color perception because the reflectance spectra (transmittance spectra) of the object have modulated the light source spectrum. Different objects have different reflectance spectra (transmittance spectra). The light source spectrum modulates the reflectance spectra (transmittance spectra) of different objects to obtain different results. The observer is the same, so it shows different colors. The theory is shown in the figure below.

[image: image107.png]Tefectance spectrum “pectrom tandard cbserver




△L+ represents whitish, △L-represents blackish;

Aa+ represents reddish, △a-represents greenish;

△b+ represents yellow, △b+ represent small bluish.

2. Color difference formula

The CIE 1976 color difference formula ΔE*ab is as follows:

[image: image108.png]AE*, = [(AL P +(aa*f +(ab ‘)2]”2





[image: image109.png]AL* = L% = L%
Aa*=a* —a’

Ab* = b*, — b%




The CIE 2000 color difference formula ΔE00 is as follows:

[image: image110.png]AEy,

[

AL’

AC'

AH'

AC'

AH'

kSt

I

kcSc

)

KuS

]2+RT[

kcSc

|

KiiSw

I





[image: image111.png]L'=1*
a'=a‘(1+G)
b= b

~ 7
G-05/1- |- Cw
T+, 1257





The CIE 1994 color difference formula ΔE*94 is as follows:

[image: image112.png]



[image: image113.png]S=1
Sc=1+0,045C*,,
Sy=1+0,015C",





3, Normal color difference allowable range

The allowable range of normal skin color differences varies in different industries and application scenarios. The following are the allowable ranges of skin color differences in some major industries.

Scope description:                                                                                                           

 1. Electronic Equipment Industry

- Standard: ΔE < 0.5 is generally required to ensure color accuracy for screen display and product appearance.

2. Plastic & Coating Industry

- Standard: ΔE < 1.0 for color control of plastic products and coatings.

 3. Textile Industry

- General standard: ΔE ≤ 2.0  is considered acceptable, especially in textile color management.

- Specific standard: Color difference not lower than Grade 4, corresponding to ΔE 0–2.0.

4. Printing Industry

- Normal color deviation: ΔE 1.5–3.0  is generally regarded as normal, depending on product grade and customer requirements.

- General upper limit: ΔE ≤ 6.0  for both high-precision and general products.

5. Railway Signal Flags

- Standard: ΔE ≤ 3.0 to ensure clarity and recognition of signal flags.

	Color difference AE*ab
	Meaning

	0-0.5△E
	A normal invisible difference

	0.5-1.0△E
	Very small difference, only obvious to a trained eye

	1.0-2.0△E
	Medium difference, also obvious to an untrained eye

	2.0-4.0△E
	An obvious difference

	4.0△E
	A very obvious difference


White board





Measuring port





Touch display





Measurement key





Power switch





Data interface





Bluetooth





Power interface





Sample simulated 


color





Standard samples measurement





system time





Standard 


sample lock





USB





Bluetooth





Standard sample name





Main menu





system temperature





Aperture size





Color Chart Search and Matching








②





①





Reflectance Map











Color Index








Delete/Save











Chroma value








Current colorimetric values of the standard sample








Data measurement time





③





④





⑤





Chromaticitycoordinates











Sample Interface








Sample name





Standard sample simulated color











Sample simulated color


color








Color value of the sample








Color bias








Measurement results








Chromaticity difference








Color difference results











I

